Power Calculations problems

NOTE: This assignment is now on Canvas. Use the worksheet below, but enter your answers in Canvas.

(28 questions)

Ohm’s Law		V = IR

Power equation 	P=VI

Power equation		P=I2R

- Series Circuit. The battery is set at 75.0 volts, and the Ohms ratings are shown.

  - Total current in the circuit? (Amps)

  - Voltage drop across Bulb10? (Volts)

  - Voltage drop across Bulb20?

  - Voltage drop across Bulb30?

  - Is Kirchhoff’s Voltage Law satisfied? Show work…

  - What is the Power drawn by Bulb10? (Watts)

  - What is the Power drawn by Bulb20?

  - What is the Power drawn by Bulb30?

  - Assuming an electricity price of $.14 per kW-hr, what is the cost of lighting this circuit for 24 hours?

- Parallel Circuit

Note: the battery is set at 50 volts, and the Ohms ratings are shown.

  - Voltage drop across Bulb10? (Volts)

  - Voltage drop across Bulb20?

  - Voltage drop across Bulb30?

  - Current through Bulb10? (Amps)

  - Current through Bulb20?

  - Current through Bulb30?

  - What is the Power drawn by Bulb10? (Watts)

  - What is the Power drawn by Bulb20?

  - What is the Power drawn by Bulb30?

  - You have a gasoline-powered, portable generator, with an overall efficiency of 20% (it converts 20% of the energy-content of the gasoline into usable electricity). The energy content of the gasoline is 1.3 x 108 J/gal, and it costs $3.50 per gallon. 1 W = 1 J/sec.

How much will it cost to power this circuit for 24 hours?

- Series-Parallel (Combination) Circuit. The battery is set at 40 volts, and the Ohms ratings are shown.

- Voltage drop across Bulb10? (Volts)

- Voltage drop across Bulb5 AND Bulb15 combined?

- Current through Bulb10? (Amps)

- Current through Bulb5?

- Current through Bulb15?

- What is the Power drawn by Bulb10? (Watts)

- What is the Power drawn by Bulb5?

- What is the Power drawn by Bulb15?

- You have a portable, gas-fired turbine, with its output shaft connected to a generator. The gas turbine is 30% efficient, and the generator is 95% efficient. The natural gas is priced at $1.25/therm. 1 therm = 100,000 Btu’s.

How much will it cost to power this circuit for 24 hours?