Activity 2.3.10 Wastewater Management Answer Key

Introduction

As urban centers grew in size, it became apparent that dumping raw sewage into streets, creeks, rivers, and lakes ultimately threatened the drinking water supply. The concept of wastewater management was born.

Once water has entered a structure, it is inevitable that the water will be used and the quality changed – usually for the worse. The used water is called wastewater. The constituents (impurities) within wastewater are dependent upon how the water has been used.

Sanitary wastewater is generally accepted to consist of human waste, household cleaning solutions, oil and grease from cooking activities, small solid particles from garbage grinders, or soil from cleaning clothes and floors. Wastewater from commercial establishments may include metals, strong acids and bases, cleaning solvents, oil and grease, and grit (small plastic, glass, stone, or metal particles), in addition to sanitary wastewater. Sometimes water is used for cooling purposes; thermal pollution is created and must be managed correctly.

The selected method of wastewater management depends upon the quantity (i.e., flow rate) and quality of the wastewater, available treatment technologies, codes and regulations and economics.

A civil (environmental) engineer must decide how to manage the wastewater by considering three broad categorical options:

Reuse: Wastewater that can be used again without treatment of any kind

Recycling: Wastewater that is treated either on-site or off-site and used again

Discharge/treatment: Wastewater that is simply discharged from the structure for treatment either on-site or off-site

In this activity you will learn to select an appropriate wastewater management method and perform fundamental layout calculations.

Equipment

- Pencil

- Engineering notebook

- Calculator

- Computer with internet access

- Example Residential Plumbing Code Requirements

Procedure

For the purposes of this activity, you will assume that the primary contaminant in the wastewater is organic matter and NOT toxic to microorganisms.

Apply what you have learned about wastewater management and the Example Residential Plumbing Codes Requirements choose a wastewater treatment method for your Affordable Housing project.

Based on the Example Residential Plumbing Code Requirements, the house must connect to the available municipal sanitary sewer system and cannot use an on-site centralized system.

Design the lateral connection from the house to the system. Show all work and document your design. Assume that the invert elevation of the 14 inch sewer main where the sewer lateral will connect is 763.15 feet.

- Create a sketch showing the sewer main, the sewer lateral, the house foundation, and the lowest floor elevation.

- Calculate approximate crown elevation of the existing 14 inch sanitary sewer main. Show this elevation on your sketch.

- Assume that the sewer lateral must connect to the main on 10th Street. Determine horizontal distance from the structure to the existing sewer main. Indicate this dimension on your sketch.

By using a ruler and determining the printed scale of the drawing, the building should be approximately 60-80 ft from the sanitary sewer main (SS) along 10th Street.  Distances may vary depending on sewer lateral layout and location of house.

- Determine the minimum size allowed for the building sewer (sewer lateral).

Based on the Drainage Fixture Units for Fixtures table (#16) in the Example Residential Plumbing Code Requirements, determine the sum of the drainage fixture units for all fixtures in the home. This total should be 20 d.f.u. or less for the Affordable Housing project.  Based on the Minimum Number of Fixture Units Allowed to be Connected to Building Drain or Building Sewer table (#17) in the Example Residential Plumbing Code Requirements, determine that a 3 inch pipe is sufficient to carry the wastewater load.

- Determine the maximum sewer lateral pipe invert elevation at the structure foundation and indicate this elevation on your sketch. Assume that the sewer invert must be at least 2 feet below the lowest floor requiring sanitary sewer drainage and that the sewer crown must be below frost depth. Frost depths are available at http://www.soundfootings.com/pdf/US_Map_Frost_DepthAVG.pdf

The first floor elevation may vary.  For demonstration of the correct calculation, a first floor elevation of 770.5 is assumed.

First floor elevation is 770.5 ft

Lateral invert elevation  (  770.5 ft - 2 ft = 769.5 ft.

Check frost depth.

Grade elevation is approximately 769 feet (student grade elevation may vary somewhat).

Frost depth for Noblesville, Indiana is approximately 25 inches.

Therefore

The maximum lateral invert elevation of 766.67 feet since it is the lower of the two calculated values. Student answers may vary depending on the actual floor elevation of their affordable home.

- Calculate the slope of the proposed sewer lateral from the structure to the sewer main.

- What is the minimum slope allowed for the wastewater pipe?  Does your design meet the requirement?

Minimum allowable slope is 2%. Yes this design meets the minimum requirement since 3.7% > 2%.

Include the location and size of your sewer lateral in your 3D model of your Affordable Housing Project.

Conclusion

- When would the use of a septic system for wastewater management be appropriate?

When you are stationed far away from other residences or public wastewater treatment.

- What course of action should an architect or civil engineer take if the proposed slope of the sewer lateral is less than 2% (¼ in. of drop per foot) of pipe?

Split the pipe into two lateral sections instead of one.

- Why is it important that the wastewater from a structure(s) is not toxic to microorganisms?

It could destroy the ecosystem or possibly create stronger bacteria in the disposal area.

- Why is proper wastewater management critical for the health and welfare of society and the environment?

You don’t want wastewater to end up in the wrong places. Proper management prevents disease and etc.