Activity 3.1.6 Commercial Floor Systems

Introduction

Commercial floors must typically withstand greater loads and heavier traffic than residential floors and are therefore often built with different components. Concrete is a common floor material for commercial structures. In this activity you will research two potential elevated concrete floor systems for the Keystone Library Project and perform preliminary designs for each system. As you complete the activity, notice the similarities and differences in materials and sizes in the two floor systems.

Equipment

Keystone 2nd Floor Framing Hollow Core Precast

Keystone 2nd Floor Framing Composite Slab

Composite Floor Deck Load-Span Table

Hollow Core 8 Load-Span Table

Keystone Library Renovation Preliminary Building (student version).rvt as altered by student

Procedure

In order to create a second level for the Keystone Building, a new elevated floor system will replace the existing roof. Assume that the roof framing must be replaced because the new floor loads will be much greater than the existing roof loads. Two floor systems will be investigated for potential use as the second floor in the Keystone Library – cast-in-place concrete on metal deck (composite slab design) and precast hollow core concrete panels.

Research each of the floor systems for use as an elevated floor in the Keystone Building.

Label the components of each system in the detail of the floor at the structural steel beam.

For each system, use the appropriate load-span table to select the most economical floor design to support the proposed superimposed floor load of 150 psf. Note the specifications for each floor.

Use a highlighter to indicate the selected design on each table.

Give the specifications for the slab as indicated.

| FLOOR TYPE | SKETCH | Specification |
| --- | --- | --- |
| Composite Slab Design (cast-in-place concrete on metal decking) |  | Normal Weight Concrete Type 1.5 CF Composite Floor Deck 3-span ___10 ft_____span length ____4in____ slab thk. __18______ deck Type ___W1.4xW1.4_____ WWF __10-6______ allowable unshored clear span |
| Hollow core precast concrete floor panels |  | ___24 ft_____span length ___48in_____ panel width ____8in____ slab thk. ____7.5in____ No. & size of reinforcing strands |

Which flooring system would you recommend for the Keystone Library? Justify your choice.

The hollow core because it has a larger span length and panel width. It can use less columns for more supported flooring.

Model the composite floor design specified above in your 3D architectural model. For now use the same floor design to support your green roof, that is, use the selected floor as the base layer for your green roof design.

Conclusion

- Explain why the materials used in a residential floor system are different from a commercial system.

Residential holds less people and usually less things inside whereas commercial use will have many people inside and in the case of the library, many bookshelves and computers.

- Describe the advantages of using precast concrete floor components.

Precast is more efficient because it is poured out in another place then shipped to the site of construction where it is placed inside of the project.

- When comparing two different concrete flooring systems (such as precast panels and cast-in-place slabs), what factors would you consider as you choose a system for a building design?

How much weight it can support, how many beams it requires and how expensive it is.

- Describe how engineers can change the strength of a concrete floor so that it can carry a heavier load.

Rebar in the concrete, which will hold it in place and give it a little more support.